## Slide 1
Clean Heat 2.0 Program Relaunch Update
Notes: We will leave some time at the end for questions, so please put all questions in the Q&A box.

## Slide 2: Incentive Updates
~$3 million per month for Nonresidential projects
  Any unspent funds get rolled over in the following month’s budget
Incentives are capped at $1 million or 50% of project costs, whichever is less, for all Clean Heat projects
No ASHP incentives for ground-up new construction projects
  Only GSHP incentive available, including for DHW electrification
Nonresidential (Multifamily w/ >50 units and C&I) Heat Pump incentives
  New Construction (GSHP only) - $125/MMBtu (down from $200)
  Existing Buildings (incl. Gut-rehabs) - $200/MMBtu (same as previous)

## Slide 3: Incentive Updates cont.
Incentive levels for Nonresidential HP + Building Envelope Measures
  Tier 1: New Construction (GSHP only) - $125/MMBtu (down from $200)
  Tier 1: Existing Buildings - $200/MMBtu (same as previous)
  Tier 2: New Construction (GSHP only) - $150MMBtu (down from $400)
  Tier 2: Existing Buildings - $225/MMBtu (down from $400)
C&I Custom Partial Load Space Heating incentives for EBs & Gut-Rehabs Only
  GSHP - $100/MMBtu
  All Other Clean Heat Tech - $70/MMBtu
Nonresidential Custom DHW (>120 gallons) incentives
  New Construction (GSHP only) - $125/MMBtu (down from $200)
    NC GSHP for DHW must be in conjunction w/ a space heating project
  Existing Buildings - $200/MMBtu

## Slide 4: New Decommissioning Requirement
All Existing Building space-heating projects must decommission existing fossil-fuel powered heating systems
  Decommissioning defined as cutting and capping piping and/or removal of equipment. Abandonment of piping in place is acceptable.
  Projects applying for incentives for a wing/section of a building only have to decommission equipment serving that wing/section
  Projects electrifying space-heating but not DHW only need to decommissioning space-heating systems
  Non-Residential Decommissioning Checklist doc
  C&I Custom Partial Load Space Heating Projects also exempt but systems must meet certain requirements